SECTION 11 52 13 (11132)

PROJECTION SCREENS

# GENERAL

### The work of this Section is integral to the whole of the Contract Documents and is not intended to be interpreted outside that context.

### Products listed in this section shall be supplied with both a screen and a roller device provided by the same manufacturer as one complete assembly and warranty.

## SECTION INCLUDES

### Section includes projection screen surfaces, fabrics, construction, supplemental devices; and installation and operating mechanisms.

## DESCRIPTION OF WORK

### Provide all labor, materials, equipment, services and accessories necessary to furnish and install the work of this Section, complete and functional, as indicated in the Contract Documents and as specified herein:

### The principal work of this Section includes, but may not be limited to, the following:

#### Installation of projection screens per manufacturer instructions.

#### Provision of power distribution system as specified under Division 26

#### Provision of conduit and boxes as shown on the drawings and specified under Division 26

#### Painting visible surfaces as directed by Architect

#### Adjustment of screen up and down stops as directed by Architect

#### Inspecting and insuring that the screens are free from defects

#### Cleaning the screen surfaces; the contractor shall maintain the surfaces in dust free condition throughout the course of this contract

#### Coordinating with the AV Contractor for low voltage connections

## REFERENCES

## The products described in this specification shall be designed and manufactured according to latest revision of the following standards (unless otherwise noted).

### Society of Motion Picture and Television Engineers (SMPTE):

#### SMPTE RP 94-2000 - Gain Determination of Front Projection Screens

### National Fire Protection Association (NFPA)

#### NFPA 701 – Standard Methods of Fire Tests for Flame Propagation of Textiles and Films

### ASTM International

#### ASTM E84 – 09 – Standard Test Method for Surface Burning Characteristics of Building Materials

### California State Fire Marshall or local regulations

#### Title 19 Division 1 Chapter 8 – Regulations Relating to Flame-Retardant Chemicals, Fabrics and Application

### Underwriters Laboratories

#### UL94, (harmonized with IEC 60707, 60695-11-10 and 60695-11-20 and ISO 9772 and 9773), the Standard for Safety of Flammability of Plastic Materials for Parts in Devices and Appliances testing

#### UL94 V-0

#### UL94 5V

### National Electrical Code

#### Article 300-22 (c) spaces used for environmental air

## DEFINITIONS

### Gain: The screen's luminance or brightness measured perpendicular to the screen center, measured relative to a block of magnesium carbonate which serves as the standard for 1.0 gain. The gain shall be measured in accordance with SMPTE RP 94-2000.

### Half Gain Viewing angle:  The angle from the perpendicular center of the screen at which the light measured from the screen is equal to one half the values measured in the test for gain.

### Gain Uniformity:  The variation in light intensity measured perpendicular to any point on the screen as a percentage of the light intensity measured perpendicular to the center of the screen. The screen shall be illuminated uniformly by using a collimated light source as simulated by a projector and lens with a throw ratio greater than three and an f stop number greater than f4.0.

### Ambient Light Reflectivity:  The amount of light reflected from the screen from undesirable off axis sources as a percentage of the light incident on the screen. The measurement is taken perpendicular to the screen and the light source is at 45 degrees from the perpendicular. The ambient light reflectivity is an indicator of the potential screen contrast which is independent of projector contrast ratio, room illumination level or room surface reflectivity.

## SUBMITTALS

### Provide in accordance with Section 01 33 00 – Administrative Requirements for Submittal Procedures:

#### Manufacturers’ product data for projection screens and associated devices, including installation, maintenance, and cleaning instructions

#### Shop drawings:  Submit large scale shop drawings. Indicate dimensions, fabrication, and installation methods and details including anchors, clamps, strut, threaded rod and safety cables. Submit shop drawings for low voltage and high voltage wiring.

#### Samples:

##### Initial Selection Samples: Submit samples showing complete range of colors, textures and finishes available for each material used.

##### Verifications Samples: Submit representative samples of each material that is to be exposed in the finished work, showing the full range of color and finish variations expected.

##### Submit the following samples:

###### Submit a sample of screen case finishes for approval.

###### Submit a 6” by 6” (152 x 152 mm) sample of screen fabric for approval.

## QUALITY ASSURANCE (QUALIFICATIONS)

### Manufacturer’s Qualifications:

#### The Manufacturer shall be engaged full time in the production of the products herein.

#### The product types specified herein shall represent at least sixty-percent of the total volume of products produced by the manufacturer.

### Contractor Qualifications:

#### The Contractor shall be an authorized dealer and service facility for the products specified herein.

#### The Contractor shall employ its own installation staff, sub-contracting the work specified herein is not acceptable.

#### The Contractor shall demonstrate at least five years of experience with the installation of the products specified herein.

## STORAGE, AND HANDLING

### Deliver and install the projection screens after the building is enclosed and the construction where screens will be installed is substantially complete. The HVAC system shall have been started and shall be supplying clean air. The room shall be broom clean at a minimum. If applicable, mechanical assembly may be installed earlier with the screen properly packaged and stored elsewhere until installation conditions are met.

### Upon receipt of the screens, inspect the screens for impressions, tears, stains, dirt, foreign matter or other defects. Immediately notify the Manufacturer and file claims with shipping companies. Clean or repair the screens as required, as authorized by the manufacturer, and as approved by the owner’s representative. Where screens cannot be repaired or cleaned in the field, return the screen to the manufacturer for repair or replacement.

## WARRANTY

### Attention is directed to provision of Closeout Submittals and applicable parts of Division 1 regarding warranties.

### Manufacturers shall provide their standard warranty for work specified in this Section. However, such warranty shall be in addition to and not in lieu of all other liabilities which manufacturers and the Contractor may have by law or by other provisions of the Contract Documents.

### Screens shall be warranted by the manufacturer not to flake, peel, separate, crack or change optical characteristics for a minimum of five years from date of installation, unless subject to abuse. Mechanisms shall be warranted for five years to operate smoothly, to stop consistently without need for adjustment and to maintain original noise levels.

# PRODUCTS

## SCREEN MATERIALS

### The screen shall be manufactured of multiple layers of cast un-reinforced vinyl. Woven or reinforced fabrics do not hang as flat and are not acceptable.

### Non drying, stabilized additives shall be added to the vinyl to maintain flexibility and provide functionality over a minimum temperature range of 40 to 100 degrees Fahrenheit (4 to 38 degrees Celsius), including heat stabilizers and non-phthalate plasticizers. Phthalate type plasticizers are not acceptable due to the possibility of negative health impact.

### Fire retardants shall be added to the base materials to reduce smoke and flame spread. The screen shall meet the requirements and test procedures referenced in section 1.3B, 1.3C and 1.3D above. The screen shall have all appropriate labels and documentation as listed in those sections. Without exception, screens which do not meet these requirements are not acceptable and will not be approved as equivalent.

### Unless specified as a perforated screen, the screen shall be at least 97% opaque to maintain maximum contrast ratio. Projected light from the front shall not pass through the screen to be reflected back to the front of the screen. Ambient light from behind the screen shall not pass to the front of the screen. Non-perforated screens which are translucent are not acceptable.

### The screen shall be seamless. Seams will cause deformation of the screen while rolled up and are therefore not acceptable. Seams in the viewable area are visible to the audience and are not acceptable. Seams in the leader of rolled up screens will telegraph an impression into subsequent wraps of material which are viewable and therefore not acceptable.

## TENSIONING SYSTEM

### The projection screen shall be uniformly tensioned by vertical catenary cables on both sides and a batten weight at the bottom. The purpose of the tension is to hold the screen flat and unmoving.

### The catenary cables shall be woven from synthetic fibers to provide dimensional stability. Simple twisted cord or cable is not acceptable.

### The catenary cables shall pass through tabs at the sides of the screen. These tabs shall be located approximately eight inches (203 mm) apart but shall be spaced to avoid a buildup in thickness when the screen is rolled up on the roller.

### Black masking borders on the sides of the screen shall separate the guy wire tabs from the viewing area so as not to deform the screen while rolled, which affects flatness when deployed. The minimum side mask at the sides of the screen shall be five inches (127 mm). For larger screens, the side masks should be at least one inch (25 mm) for each twelve inches (300 mm) of height of the screen including drop, minus one inch (25 mm).

### In normal operating position and tension, the flatness of the image area of the screen shall not deviate from a flat plane by more than 1/32” (0.8mm) across the entire viewing surface. Minimum undulation in the lower half of the black over-scan border area (side masking) is acceptable but shall not intrude into the image.

## PROJECTION SCREEN SIZES:

### Projection screen image sizes are shown on the drawings and on a schedule included in the drawing and/or project manual package. For each screen, provide the specified and sized screen fabric with black drop above the viewing area, black side masks, bottom mask, tensioning devices and batten to meet the intent of the specifications as noted above.

## SCREEN MATERIALS

### The screen shall be manufactured of multiple layers of cast un-reinforced vinyl. Woven or reinforced fabrics do not hang as flat and are not acceptable.

### Non drying, stabilized additives shall be added to the vinyl to maintain flexibility and provide functionality over a minimum temperature range of 40 to 100 degrees Fahrenheit (4 to 38 degrees Celsius), including heat stabilizers and non-phthalate plasticizers. Phthalate type plasticizers are not acceptable due to the possibility of negative health impact.

### Fire retardants shall be added to the base materials to reduce smoke and flame spread. The screen shall meet the requirements and test procedures referenced in section 1.3B, 1.3C and 1.3D above. The screen shall have all appropriate labels and documentation as listed in those sections. Without exception, screens which do not meet these requirements are not acceptable and will not be approved as equivalent.

### Unless specified as a perforated screen, the screen shall be completely opaque to maintain maximum contrast ratio. Projected light from the front shall not pass through the screen to be reflected back to the front of the screen. Ambient light from behind the screen shall not pass to the front of the screen. Non-perforated screens which are translucent in any way are not acceptable.

### The screen shall be seamless. Seams will cause deformation of the screen while rolled up and are therefore not acceptable. Seams in the viewable area are visible to the audience and are not acceptable. Seams in the leader of rolled up screens will telegraph an impression into subsequent wraps of material which are viewable and therefore not acceptable.

### Once mounted and tensioned, the flatness of the image area of the screen shall not deviate from a flat plane by more than 1/32” (0.8mm) across the entire viewing surface.

## PROJECTION SCREEN SIZES:

### Projection screen image sizes are shown on the drawings and on a schedule included in the drawing and/or project manual package. For each screen, provide the specified and sized screen fabric with black drop above the viewing area, black side masks, bottom mask, tensioning devices and batten to meet the intent of the specifications as noted above.

## OPTICAL PERFORMANCE

### For each type of screen shown in the drawings and listed in the project manual the optical performance shall meet or exceed the values specified.

### Stewart Filmscreen SnoMatte 100

### The screen material shall be a flexible front projection screen surface that is formulated to meet strict color and white field uniformity standards. The screen material shall be capable of resolving in excess of 6 line pairs per millimeter. The screen fabric shall be seamless in its entirety.  The material shall be an optimal diffuser and shall be able to disperse light in a near perfect hemispherical distribution. The material shall be suitable for the projection of digital intermediary and color timing images in post-production facilities. The screen material shall have a minimum gain of 1.0. The surface shall be a full Lambertian diffuser maintaining greater than 50% brightness at 90 degrees off axis. Maximum ambient light reflectivity shall be 85% per foot-candle. Minimum throw distance shall be 0.33 times the image width.

### The material shall be Stewart Filmscreen Corporation SnoMatte 100.

### Stewart Filmscreen FireHawk G5

### The screen material shall be a flexible front projection screen surface engineered to resolve a minimum of 6 line pairs per millimeter. The screen fabric shall be seamless in its entirety. It shall have an ultra-fine optical coating to improve uniformity for consistent brightness across the entire screen. The material shall have a gain of 1.20 with a minimum half gain viewing angle of 35 degrees. Maximum ambient light reflectivity shall be 27% per foot-candle. Minimum projector throw distance shall be at least 1.5 times the image width. The screen material shall be certified by THX and by the Imaging Sciences Foundation (ISF).

#### The material shall be Stewart Filmscreen Corporation, FireHawk G5.

### Stewart Filmscreen UltraMatte 130

### The screen material shall be a flexible front projection screen surface formulated for high output broadcast quality projection systems. The material will be capable of resolving a minimum of 6 line pairs per millimeter. The screen fabric shall be seamless in its entirety.  The material shall be able to produce images with the strictest color fidelity and white field uniformity standards. The material shall have a gain of 1.3 with a minimum half gain viewing angle of 80 degrees. Maximum ambient light reflectivity shall be 83% per foot-candle. Minimum throw distance shall be 1.3 times the image width.

#### The material shall be Stewart Filmscreen Corporation, Ultramatte 130.

### Stewart Filmscreen UltraMatte 150

### The screen material shall be a flexible front projection screen surface formulated for use in large format applications. The fabric will be capable of resolving a minimum of 6 line pairs per millimeter. The screen fabric shall be seamless in its entirety.   The material shall have a gain of 1.5 with a minimum half gain viewing angle of 61 degrees. Maximum ambient light reflectivity shall be 82%. Minimum throw distance shall be 1.5 times the image width.

#### The material shall be Stewart Filmscreen Corporation, UltraMatte 150.

### Stewart Filmscreen GrayHawk RS G4

### The screen material shall be a flexible front projection screen surface that is capable of resolving a minimum of 6 line pairs per millimeter. The material shall incorporate an ultra-fine optical coating to improve uniformity for consistent brightness across the entire screen. The material shall be suitable for lowering the black floor with high output projectors without losing off-axis performance and viewing cone width. The screen material shall have a minimum gain of 0.9 with a minimum half gain viewing angle of 77 degrees. Maximum ambient light reflectivity shall be 49% per foot-candle. Minimum throw distance shall be 1.3 times the image width. The screen material shall be certified by THX and by the Imaging Sciences Foundation (ISF).

#### The material shall be Stewart Filmscreen Corporation, GrayHawk G4.

### Stewart Filmscreen Phantom HALR

### The screen material shall be a flexible front projection screen surface that is capable of resolving a minimum of 6 line pairs per millimeter. The material shall incorporate a multi-layer optical coating to improve contrast retention and to furnish uniformity for consistent brightness across the entire screen. The material shall be suitable for lowering the black floor with high output projectors while preserving at least a thirty degree half gain angle, to furnish a 60 degree optimum viewing area.  The screen material shall have a minimum gain of 1.0 with a minimum half gain viewing angle of 30 degrees. Maximum ambient light reflectivity shall be 15% per foot-candle. Minimum throw distance shall be 1.3 times the image width.

### The material shall be Stewart Filmscreen Corporation, Phantom HALR

### Stewart Filmscreen StudioTek 130 G4

### The screen material shall be a flexible front projection screen surface that is formulated to provide optimized white field uniformity. The material shall have a gain of 1.3 with a minimum half gain viewing angle of 68 degrees. Maximum ambient light reflectivity shall be 82% per foot-candle. Minimum projector throw distance shall be at least 1.3 times the image width. The screen material shall be certified by THX.

### The material shall be Stewart Filmscreen Corporation StudioTek 130 G4.

### Stewart Filmscreen StudioTek 100

### The screen material shall be a flexible front projection screen surface that is formulated to meet strict color and white field uniformity standards. The material shall be an optimal diffuser and shall be able to disperse light in a near perfect hemispherical distribution. The material shall be suitable for the projection of digital intermediary and color timing images in post production facilities. The screen material shall have a minimum gain of 1.0. The surface shall be a full lambertian diffuser maintaining greater than 50% brightness at 90 degrees off axis. Maximum ambient light reflectivity shall be 85% per foot-candle. Minimum throw distance shall be 0.33 times the image width.

#### The material shall be Stewart Filmscreen Corporation, StudioTek 100.

### Stewart Filmscreen GrayMatte 70

### The screen material shall be a flexible front projection screen surface that is formulated for use in front projection edge blending applications. It shall have a neutral density gray surface to dampen cross-reflection in deeply curved or circular installations. It shall be suitable for neutral attenuation of over lit displays employing large high resolution projectors with small screens. Custom gains shall be available. The screen material shall have a minimum gain of 0.7. The surface shall be a full lambertian diffuser maintaining greater than 50% brightness at 90 degrees off axis. Maximum ambient light reflectivity shall be 62% per foot-candle. Minimum throw distance shall be 0.7 times image width

#### The material shall be Stewart Filmscreen Corporation, GrayMatte 70.

### Stewart Filmscreen AeroView 70

### The screen material shall be a flexible rear projection screen surface that is formulated for use in edge blending applications. It shall be seamless in entirety. It shall have a color neutral off-white appearance when un-lit. The fabric will resolve a minimum of six line pairs per millimeter, in any direction. The screen material shall have a minimum gain of 0.7 on axis, and an 82 degree half gain measurement, maintaining greater than 50% of peak brightness at 82 degrees off axis. Maximum ambient light reflectivity shall be 65% per foot-candle. Minimum throw distance shall be 0.33 times image width

#### The material shall be Stewart Filmscreen Corporation, AeroView 70.

### Stewart Filmscreen AeroView 90

### The screen material shall be a flexible rear projection screen surface that is formulated for use in edge blending applications. It shall be seamless in entirety. It shall have a color neutral off-white appearance when un-lit. The fabric will resolve a minimum of six line pairs per millimeter, in any direction. The screen material shall have a minimum gain of 0.9 on axis, and a 71 degree half gain measurement, maintaining greater than 50% of peak brightness at 71 degrees off axis. Maximum ambient light reflectivity shall be 72% per foot-candle. Minimum throw distance shall be 0.89 times image width

#### The material shall be Stewart Filmscreen Corporation, AeroView 90.

### Stewart Filmscreen AeroView 100

### The screen material shall be a flexible rear projection screen surface that is formulated for use in single image and long throw edge blending applications. It shall be seamless in entirety. It shall have a color neutral off-white appearance when un-lit. The fabric will resolve a minimum of six line pairs per millimeter, in any direction. The screen material shall have a minimum gain of 1.0 on axis, and a 63 degree half gain measurement, maintaining greater than 50% of peak brightness at 63 degrees off axis. Maximum ambient light reflectivity shall be 73% per foot-candle. Minimum throw distance shall be 1.0 times image width

#### The material shall be Stewart Filmscreen Corporation, AeroView 100.

### Stewart Filmscreen Corporation, AeroView 90

### The screen material shall be a flexible rear projection screen surface that is formulated for use in single projector applications. It shall be seamless in entirety. It shall have a color neutral off-white appearance when un-lit. The fabric will resolve a minimum of six line pairs per millimeter, in any direction. The screen material shall have a minimum gain of 1.3 on axis, and a 42 degree half gain measurement, maintaining greater than 50% of peak brightness at 42 degrees off axis. Maximum ambient light reflectivity shall be 75% per foot-candle. Minimum throw distance shall be 0.89 times image width

#### The material shall be Stewart Filmscreen Corporation, AeroView 90.

### Stewart Filmscreen FilmScreen 100

### The screen material shall be a flexible rear projection screen surface that is formulated for use in single projector applications. It shall be seamless in entirety. It shall have a neutral density gray appearance when un-lit. The fabric will resolve a minimum of six line pairs per millimeter, in any direction. The screen material shall have a minimum gain of 1.0 on axis, and a 39 degree half gain measurement, maintaining greater than 50% of peak brightness at 39 degrees off axis. Ambient Light Rejection value will be 85% per foot-candle of off axis light. Minimum throw distance shall be 1.5 times image width

#### The material shall be Stewart Filmscreen Corporation, FilmScreen 100.

### Stewart Filmscreen FilmScreen 150

### The screen material shall be a flexible rear projection screen surface that is formulated for use in single projector applications. It shall be seamless in entirety. It shall have a neutral density gray appearance when un-lit. The fabric will resolve a minimum of six line pairs per millimeter, in any direction. The screen material shall have a minimum gain of 1.0 on axis, and a 31 degree half gain measurement, maintaining greater than 50% of peak brightness at 31 degrees off axis. Ambient Light Rejection value will be 89% per foot-candle of off axis light. Minimum throw distance shall be 1.5 times image width

#### The material shall be Stewart Filmscreen Corporation, FilmScreen 100.

### The screen material shall be a flexible front projection screen surface that is formulated for use in front projection edge blending applications. It shall have a neutral density gray surface to dampen cross-reflection in deeply curved or circular installations. It shall be suitable for neutral attenuation of over lit displays employing large high resolution projectors with small screens. Custom gains shall be available. The screen material shall have a minimum gain of 0.7. The surface shall be a full lambertian diffuser maintaining greater than 50% brightness at 90 degrees off axis. Maximum ambient light reflectivity shall be 62% per foot-candle. Minimum throw distance shall be 0.7 times image width

#### The material shall be Stewart Filmscreen Corporation, Graymatte 70.

## MOTORS

### Electric Screens shall have a motor to operate at 120 volts (220 volts). Screen drives shall include thermal protection, integral gears, anti-coasting brake mechanism and lifetime lubrication. The motor shall have three wire power and ground and comply with all requirements of the NEC and UL.

### During operation of the screen, noise from the motor shall not exceed 44 dBA measured at three feet from the electrical drive unit.

### In both up and down directions the screen shall stop automatically and repeatedly within 1/16” (2 mm).

## ROLLERS

### Rigid metal rollers used to operate manual and electric screens may vary in size from 3 inches to 8 inches (76.2 to 203.2 mm) and shall be fabricated from either steel or aluminum. The circular cross section of the roller shall be modified such that the radius of the roller is reduced by the screen thickness near the point where the screen attaches to the roller.

### The overall effect shall be that there is no step in the layers of the screen every 360 degrees as it wraps around the roller. Periodic horizontal deformations or “laddering” in the screen from wrapping around the roller are not acceptable.

### Rollers shall remain linear along the axis without deformation or sagging that will cause deformation in the screen when rolled up for extended periods.

### Any electrically operated screen with a batten width exceeding 18’ 6” (5639 mm) shall be furnished with a cable stressed roller tube, that shall have no downward defection at the center and up to 1” (25.4 mm) of upward to insure flat deployment of the fabric.

## HOUSINGS

### Housings that are not fully metallic shall be manufactured from material that is fully compliant with and certified to comply with UL94, NEC 300-22c and ASTM E84 as referenced above.

### Screen assemblies shall comply fully with section 300-22(c) of the National Electrical Code and all other sections that apply.

### Screen assemblies shall be provided by the manufacturer with integral structural members for safely mounting to the building using standard construction materials such as chain, threaded rod and strut.

### The sections below define the housing and roller mechanism for different sizes of projection screens, and for different mounting techniques including wall mounted, recessed in ceiling, flush ceiling mount, and surface mounted. Use the schedule of screens in the project manual and drawing packing to select each type.

### Wall surface mounted, high finish electrical rollup screen:

#### The screen system shall include an extruded aluminum case in a choice of colors including white, black, silver, green, brushed nickel, red, gray and yellow. See the schedule of projection screens in the drawings and project manual for the color of each housing.

#### Housings shall include integral cable management systems to conceal cabling for best appearance.

#### Housings may include integral LED “mood lighting” to illuminate the wall behind the housing. See projection screen schedule.

#### The case shall include a 3-1/4” (83 mm) metal roller with integral sound dampened insulated screen drive.

#### The screen case shall be Stewart Filmscreen Corporation, Cabaret Screen.

### Flush recessed ceiling mounted electrical rollup screen with pre-mounted case assembly and self finishing bottom plate:

#### The screen system shall include a two piece extruded aluminum screen housing that allows for pre-installation of the outer case.

#### The system shall incorporate a finishing single piece solid aluminum bottom plate, self finishing trim kit and adjustable ceiling flanges for drywall mounting.

#### The case shall include a: 3-1/4” (83 mm) metal roller tube with integral sound dampened insulated screen drive.

#### It shall be furnished with a standard 120-Volt AC motor drive and high voltage switch. See schedule for optional 220 Volt AC systems. Include low voltage control system and switch as shown in the screen schedule.

#### The screen case shall be Stewart Filmscreen Corporation, Visionary.

### Flush recessed ceiling mounted electrical rollup screen with electrically operable door to conceal retracted screen:

#### The screen housing shall be constructed of aluminum and painted white.

#### The case shall incorporate adjustable dry wall stops.

#### The case shall incorporate a 3-1/4” (83 mm) metal roller tube with integral sound dampened insulated screen drive.

#### It shall be furnished with a standard 120-Volt AC motor drive and high voltage switch. See schedule for optional 220 Volt AC systems. Include low voltage control system and switch as shown in the screen schedule.

#### The screen case shall be Stewart Filmscreen Corporation, Stealth Trapdoor

### Flush recessed ceiling mounted electrical rollup screen with electrically operable door to conceal retracted screen:

#### The housing panels shall be made from closed cell expanded (foam) PVC Sintra ® reinforced with extruded aluminum and painted white.

#### The case shall include a 4” (102 mm) access panel along with adjustable dry wall stops.

#### The case shall incorporate a 3-1/4” (83 mm) metal roller tube with integral sound dampened insulated screen drive.

#### It shall be furnished with a standard 120-Volt AC motor drive, low voltage control and momentary low voltage switch. See schedule for optional 220 Volt AC systems.

#### The screen case shall be Stewart Filmscreen Corporation, Stealth Medio Trapdoor

### Flush recessed ceiling mounted electrical rollup screen with electrically operable door to conceal retracted screen:

#### The housing panels shall be made from closed cell expanded (foam) PVC such as Sintra ® reinforced with extruded aluminum and painted white

#### The case shall include a 4” (102 mm) access panel along with adjustable dry wall stops.

#### The case shall incorporate a 6” (152 mm) metal roller tube with integral sound dampened insulated screen drive.

#### It shall be furnished with a standard 120-Volt AC motor drive, low voltage control and momentary low voltage switch. See schedule for optional 220 Volt AC systems.

#### The screen case shall be Stewart Filmscreen Corporation, Stealth Grande S6 Trapdoor

### Large venue ceiling mount, recessed, and stage flown electrical rollup screen:

#### The housing panels made from closed cell expanded (foam) PVC such as Sintra ® reinforced with extruded aluminum and painted matte black.

#### The case shall be able to accommodate screen sizes with a viewable area to 16’-10” (5131 mm) wide.

#### The case shall incorporate adjustable dry-wall stops.

#### The case shall incorporate a: 6” (152 mm) metal roller tube with in-tube motor.

#### It shall be furnished with a standard 120-Volt AC motor drive, low voltage control and momentary low voltage switch. See schedule for optional 220 Volt AC systems.

#### The screen case shall be Stewart Filmscreen Corporation Luxus Medio.

### Large venue ceiling mount, recessed, and stage flown electrical rollup screen:

#### The housing panels shall be made from closed cell expanded (foam) PVC such as Sintra ®.that is reinforced with extruded aluminum. The housing shall be matte black unless otherwise specified

#### The case shall be able to accommodate screen sizes to 26’-6” (8077 mm) wide (outside dimension).

#### The case shall incorporate adjustable dry-wall stops.

#### The case shall incorporate a: 6” (152 mm) stress roller tube with outboard motor.

#### It shall be furnished with a standard 120-Volt AC motor drive, low voltage control and momentary low voltage switch. See schedule for optional 220 Volt AC systems.

#### The screen case shall be Stewart Filmscreen Corporation, Cascade Grande S6.

### Large venue ceiling mount, recessed, and stage flown electrical rollup screen:

#### The housing panels made from closed cell expanded (foam) PVC such as Sintra ® reinforced with extruded aluminum. The housing shall be matte black unless otherwise specified.

#### The case shall be able to accommodate screen sizes to 39’-6” (12040 mm) wide (outside dimension).

#### The case shall incorporate adjustable dry-wall stops.

#### The case shall incorporate a: 6” (152 mm) stress roller tube with outboard motor.

#### It shall be furnished with a standard 120-Volt AC motor drive, low voltage control and momentary low voltage switch. See schedule for optional 220 Volt AC systems.

#### The screen case shall be Stewart Filmscreen Corporation, Cascade Grande S8.

### Type 9: Wall surface mounted, high finish electrical rollup screen:

#### The case shall be an extruded aluminum case with brackets for mounting on the wall or ceiling. Eyebolt suspension shall also be available. The case housing shall be matte black unless otherwise specified

#### The case shall incorporate a 3-1/4” (83 mm) metal roller with integral sound dampened insulated screen drive.

#### The screen case shall be Stewart Filmscreen Corporation, Luxus.

# EXECUTION

## PREPARATION AND INSPECTION

### Examine wall, ceilings and conditions under which this work is to be performed. Notify the Contractor in writing of conditions detrimental to proper completion of the work. Beginning work means that the Installer accepts substrates and conditions.

## COORDINATION

### Coordinate provision of electrically and manually deployed roller screens with locations of other wall and ceiling mounted components such as visual display boards, casework, structural framing, light fixtures, air diffusers, ducts and fire sprinklers to eliminate potential conflicts.

### Coordinate requirements for blocking, construction of recesses, and auxiliary structural supports to ensure adequate means for installation of screens.

### Coordinate installation of recessed mounted screens with construction of suspended ceilings or gypsum board ceilings

## INSTALLATION

### Arrange for timely delivery of the screen from the manufacturer. Do not store the screen for extended periods prior to installation. Coordinate pathway access to bring the screen into the building as required.

### Install screens in accordance with the approved shop drawings. Strictly comply with the manufacturer's instructions and recommendations. Comply with all requirements as specified in this Section. Comply with all referenced standards.

### Install projection screens at locations and heights indicated on drawings. Verify locations in field with Architect.

### Provide and install blocking in all walls as required. Provide and install appropriate structural support in ceilings as required. Work ceiling tiles around openings for flush ceiling screens.

### Accurately plumb, level, align, square and brace screens.

## ADJUSTING TOUCH-UP AND REPAIR

### After installation of hardware, make adjustments and corrections to leave operating parts in perfect condition.

### Touch-up damaged shop coatings and repair minor damage to eliminate all evidence of repair to the satisfaction of the owner’s representative.

### Remove and replace work that cannot be satisfactorily repaired

## TESTING AND PROTECTING

### Operate each screen three times minimum. Ensure screens properly extend and retract and that screen is level and viewing surface plumb when extended. Adjust to correct deficiencies. Verify that the screen operates properly, and that the screen hangs flat without ripples.

### Protect projection screens from damage resulting from subsequent construction activities. Tape craft paper or other protective membrane over the screen housing opening until directed to remove them. If the protective materials interfere with the operation of the screen, remove power from the unit and document this action with clear and legible labeling.

### Remove and replace damaged screens.

### After the building is completely clean and prior to turning over the building to the owner for occupancy, deploy all rollup screens and allow them to hang for at least 72 hours to allow the screen fabric to relax into its natural flat and smooth shape. Remove any new debris and dust that have accumulated on the screen and exposed housing surfaces. After the 72 hour period, return the screens to the rolled up position.

### END OF SECTION